PRODUCT BULLETIN

MODEL NKS SUMP PUMPS

[image: image1.jpg]


[image: image2.jpg]- A

AMERICAN-MARSH PUMPS




[image: image3.png]A )
d
“\\‘\‘\

N

AN
=l

AN

\ — WIS
7. /777, W R 177071115

=Y IS
N N Y2
PN
/A

T

3 N

|
)

Construction with Stuffing
Box at Coverplate

Intermediate Sleeve Bearing
Construction used on Pit
Depths Over Six Feet

I R
) N
SN &
L H Y Aid

4917
121R

828
2824
498A

Y]
Rl L L
NNNN B -

450
28
1A
%A
ne

CON 207 B an S— 0 e
NANN S ERE

100N
3057
304A
41A
280A





OVER
 130 YEARS

American-Marsh Model NKS Sump Pumps are used in a variety of industries.  These rugged and efficient centrifugal pumps are designed for long life and low operational costs.  American-Marsh has been building pumps for over 130 years.  This long experience is responsible for the superior performance of the Model NKS Sump Pumps.

Casings and impellers have been carefully designed for quiet operation.  Units are assembled complete at our factory to eliminate all difficulty during installation.  

Material Specifications

	PART
	CONSTRUCTION

	
	STANDARD FITTED
	BRONZE FITTED
	NI-RESIST FITTED
	316SS FITTED

	Casing
	Cast Iron
	Cast Iron
	Cast Iron
	Cast Iron

	Impeller
	Cast Iron
	Bronze
	Ni-Resist
	316 Stainless Steel

	Pump Shaft
	416 Stainless Steel
	416 Stainless Steel
	416 Stainless Steel
	316 Stainless Steel

	Stuffing Box Gland
	Cast Iron
	Cast Iron
	Cast Iron
	316 Stainless Steel

	Inboard Head
	Cast Iron
	Cast Iron
	Cast Iron
	Cast Iron

	Bearing Cap
	Cast Iron
	Cast Iron
	Cast Iron
	Cast Iron

	Bolts, Studs & Nuts
	Steel
	Steel
	Steel
	Steel

	Support Pipe and Discharge Pipe
	Steel
	Steel
	Steel
	Steel


MODEL NKS SPECIFICATIONS

Casing: The casing is constructed of high tensile cast iron or other specified material.   It is of the volute type, carefully and accurately proportioned to permit smooth flow and to convert high velocity energy of the fluid as it leaves the impeller into pressure.  Suction and discharge nozzles are cast integral with the volute.  Necessary vent and drain openings are provided.

Impeller:  Impellers are of the side suction open type, for clockwise rotation, and have only two blades.  They are properly rounded at the inlet and keyed to the shaft in such a way as to eliminate any danger of clogging.  The impellers will pass sewage, heavy liquid, storm drainage, rags, as well as solids, one pipe size smaller than the discharge opening of the pump.

Inboard Head:  The inboard head is constructed of cast iron or other specified material.  The inboard head connects the fluid end to the support pipe and contains the inboard head bushing.

Shaft:  The shaft is of 416 stainless steel, polished and of large diameter to prevent vibration.  Lineshaft bearings are spaced to minimize shaft deflection.  The shaft is supported by the thrust bearing housing, located at the surface plate, which has integral lateral adjustment.

Support & Discharge Pipe:  The support pipe is of black iron, one end flanged to the inboard head and the other end flanges to the sump cover.  Intermediate bearings will be flanged between multiple pieces of support column and spaced accordingly.  The discharge pipe is flanged, one end connected to the discharge elbow and the other to the system piping.

Discharge Elbow:  The discharge elbow is of high tensile cast iron or of other specified material and of the long radius type flanged to the discharge of the casing and to the discharge pipe assembly.

Sump Cover:  The sump cover is of carbon steel, teardrop or of other shape as desired.  The sump cover supports the entire weight of the complete pump assembly.


NKS Sectional Drawing

	Item Number
	Item Description
	Num. Req.
	
	Item Number
	Item Description
	Num. Req.

	1A
	Casing
	1
	
	221A
	Plate, Sump Cover
	1

	2B
	Head, Upper Casing
	1
	
	221B
	Plate, Sump Mounting
	1

	11C
	Impeller
	1
	
	224A
	Flange, Upper Discharge
	1

	24A
	Key, Impeller
	1
	
	260A
	Pipe, Discharge, Assembly
	Varies

	41A
	Shaft, Pump
	1
	
	280A
	Pipe, Support, Assembly
	Varies

	45C
	Bearing, Casing Head
	1
	
	282A
	Oiler
	Varies

	61A
	Box, Stuffing
	1
	
	284A
	Fitting, Zerk Grease
	1

	71A
	Gland, Stuffing Box
	1
	
	**301A
	Switch, Float
	1

	72A
	Stud, Gland, with Nut
	2
	
	302A
	Bracket, Float Switch
	1

	81R
	Bearing, Intermediate
	Varies
	
	303A
	Rod, Float
	1

	81S
	Bearing, Ball Thrust
	1
	
	304A
	Guide, Float Rod
	1

	82R
	Housing, Intermediate Bearing
	Varies
	
	305A
	Box, Float Rod Stuffing
	1

	82S
	Housing, Ball Bearing
	1
	
	306A
	Gland Nut, Float Rod Box
	1

	85S
	Cap, Bearing Housing
	1
	
	307A
	Stop, Float Rod
	4

	89S
	Locknut, Ball Bearing
	1
	
	309A
	Float
	1

	*91S
	Lockwasher, Ball Bearing
	1
	
	331A
	Packing, Stuffing Box
	1 set

	92S
	Adapter, Ball Bearing
	1
	
	*332A
	Packing, Float Rod Box
	1 set

	100N
	Ring, Lube Seal
	1
	
	441A
	Elbow, Discharge
	1

	121A
	Coupling, Motor
	1
	
	**497A
	Motor
	1

	122A
	Coupling, Pump
	1
	
	498A
	Pedestal, Motor
	1

	123A
	Disc, Coupling
	1
	
	499A
	Pedestal, Extension
	1


* Not Shown in sectional

** Not supplied as standard but can be ordered as an option.

Recommended spare parts are in BOLD.
PRODUCT BULLETIN		MUNICIPAL				COMMERCIAL			INDUSTRIAL


MODEL NKS SUMP		Sump, Lift Stations, Transfer,		Condensate Recovery, Breweries,		Spill Containment, Processing,


					Filter Backwash				Contact Water				Leachate Recovery, Bilge


























Bulletin 330NKS


Edition 4c








Bulletin 340NKS


Edition 4c














1
1

