PRODUCT BULLETIN

MODEL ST SELF PRIMER
[image: image1.wmf] 

[image: image2.jpg]Q dacle

i

€ b




[image: image3.jpg]- A

AMERICAN-MARSH PUMPS




[image: image4.jpg]


[image: image5.jpg]


Material Specifications

	CONSTRUCTION
	PART

	
	VOLUTE
	IMPELLER
	WEAR PLATE
	SHAFT
	MECHANICAL SEAL

	Ductile Iron Fitted
	Cast Iron
	Ductile Iron
	Ductile Iron
	420 SS
	Tungsten/Tungsten/Viton

	Novolloy Fitted
	Cast Iron
	Novolloy
	Novolloy
	420 SS
	Tungsten/Tungsten/Viton

	Bronze Fitted
	Cast Iron
	Bronze
	Bronze
	420 SS
	Tungsten/Tungsten/Viton

	316 SS Fitted
	Cast Iron
	316 SS
	316 SS
	17-4 PH SS
	Tungsten/Tungsten/Viton

	Cd4MCu Fitted
	Cast Iron
	Cd4MCu
	Cd4MCu
	17-4 PH SS
	Tungsten/Tungsten/Viton

	All Novolloy
	Novolloy
	Novolloy
	Novolloy
	420 SS
	Tungsten/Tungsten/Viton

	All Bronze
	Bronze
	Bronze
	Bronze
	17-4 PH SS
	Tungsten/Tungsten/Viton

	All 316 SS
	316 SS
	316 SS
	316 SS
	17-4 PH SS
	Tungsten/Tungsten/Viton

	All Cd4MCu
	Cd4MCu
	Cd4MCu
	Cd4MCu
	17-4 PH SS
	Tungsten/Tungsten/Viton


MODEL ST PRONTO-PRIME SPECIFICATIONS

Casing:  The casing is constructed of high tensile cast iron or other specified material.   It is of the self primer volute type, carefully and accurately proportioned to permit smooth flow and to convert high velocity energy of the fluid as it leaves the impeller into pressure. Suction and discharge nozzles are cast integral with the volute.  An integral check valve on the suction allows for very quick re-prime.  The casing has cast integral feet standard and the coverplate has a standard pressure relief valve.  

An oversized cleanout plate is located on the from of the casing for service and inspection.  The impeller, wear plate, mechanical seal and suction check valve can be serviced through this cover plate without the need to disturbe suction and discharge connections.  Oversized fill ports as well as vent and drain openings are provided.  To protect the pump and system piping, a standard pressure relief valve is located on the cleanout plate.  Running clearances can be re-adjusted with adjustment screws on the cleanout cover to dial back factory running tolerances and efficiencies easily and effortlessly.

Impeller:  The impeller is of the semi-open, solids handling type, casted in one piece of cast iron or other specified material.  All impellers are dynamically balanced prior to assembly and all impellers are designed to pump large spherical solids.  Impellers have back pump out vanes standard on the back side of the impeller to reduce material from building up behind the impeller.

Wear Plate:  An oversized and heavy duty front and rear wear plate are standard to maintain close running clearances.  The wear plates are nitrile rubber coated allowing the pump to maintain closer running clearances producing quicker priming times than the competition.  Each wear plate is easily replacable minimizing pump downtime.

Shaft:  The shaft is of high strength stainless steel or, ground to accurate dimensions and polished to a smooth surface.  It is designed for extra stiffness to avoid all critical speeds in operation.  The shaft is threaded internally on the outboard end allowing the use of belt drive accessories without any additional modification to the pump.

Power Frame: The power frame is constructed of high tensile cast iron or other specified material and provides support for the inboard and outboard bearings.  Each bearing is designed to carry all thrust and radial loads encountered by the pump.  The outboard beaing is oversized standard for use with belt drive systems.  The power frame has an integral oil sump that provides oil for lubrication to each bearing and an oil level eye is provided standard on the power frame to visually indicate the oil level.  

Mechanical Seal:  The seal chamber is sized for a heavy-duty, front loading cartridge mechanical seal.  The cartridge mechanical seal is constructed of a tungsten carbide rotary face, a tungsten carbide stationary face and viton elastomers standard. Other mechanical seal types are available upon request.  The entire seal assembly is oil lubricated to ensure long life and durability.

[image: image6.emf][image: image7.jpg]


[image: image8.jpg]


ST PRONTO-PRIME Sectional Drawing

	Item Number
	Item Description
	Num. Req.
	
	Item Number
	Item Description
	Num. Req.

	1
	Casing
	1
	
	48.1
	Stud
	Varies

	2
	Wear Plate, Front
	1
	
	49
	Stud
	Varies

	2.1
	Wear Plate, Rear
	1
	
	52
	Nut
	Varies

	3
	Impeller
	1
	
	52.1
	Nut
	Varies

	6
	Bearing Housing
	1
	
	52.2
	Nut
	Varies

	7
	Shaft
	1
	
	53.1
	Wrench Nut
	Varies

	8
	Bearing Cover
	1
	
	53.2
	Wrench Nut
	Varies

	10
	Suction Flange
	1
	
	54
	Stud
	Varies

	13
	Gasket
	1
	
	54.1
	Screw
	Varies

	14
	Check Valve
	1
	
	54.5
	Screw
	Varies

	14.1
	Check Valve Assembly
	1
	
	55
	Screw
	Varies

	15
	Handle
	1
	
	57
	Screw
	Varies

	16
	Cover
	1
	
	57.1
	Screw
	Varies

	17
	Gasket
	1
	
	57.2
	Nut
	Varies

	19
	Head
	1
	
	58
	Ball Bearing, Outboard
	1

	21
	Discharge Flange
	1
	
	59
	Ball Bearing, Inboard
	1

	22
	Gasket
	1
	
	60
	Key, Impeller
	1

	23
	Cover
	1
	
	61
	Key, Coupling
	1

	24
	Gasket
	1
	
	62
	Locknut
	1

	25
	Mechanical Seal Assembly
	1
	
	66
	Washer
	1

	26
	Cover
	1
	
	67.1
	Plug
	2

	27
	O-Ring
	1
	
	68.2
	Plug
	1

	33
	Impeller Nut
	1
	
	68.5
	Plug
	1

	43
	Casing Gasket
	1
	
	68.7
	Oil Level Indicator
	1

	43.1
	Gasket
	1
	
	70
	Pressure Relief Valve
	1

	45
	Screw
	Varies
	
	71
	Lip Seal
	1

	45.1
	Nut
	Varies
	
	71.2
	Lip Seal
	1

	47
	Stud
	Varies
	
	83.1
	Eye Hook
	1

	48
	Stud
	Varies
	
	
	
	


Recommended spare parts are in BOLD.
[image: image9.jpg]



[image: image10.jpg]ETﬂ
~




[image: image11.jpg]


[image: image12.jpg]





Approximate General Dimensions

(Do not use for construction purposes)


PRODUCT BULLETIN		MUNICIPAL				COMMERCIAL		INDUSTRIAL


MODEL ST SELF PRIMER	Lift Station, Sewage, Heavy Solids,		Jobsite De-watering, Mobile	Pulp & Paper, Steel Mill, Feed Lot,


PRONTO-PRIME			Mobile									Manufacturing, Rendering Plant





- Your Local Authorized Distributor -





Pumps...and Pumps Only...Since 1873





Bulletin 490ST


Edition 1








Bulletin 490ST


Edition 1








�


Sales & Marketing:  185 Progress Road ( Collierville, Tennessee ( 38017


Manufacturing:  185 Progress Road ( Collierville, Tennessee ( 38017


Phone:  (800) 888-7167


Fax:  (901) 860-2323





ST PRONTO-PRIME SELF PRIMER�
�
�
3x3-8 ST�
4x4-10 ST�
6x6-12 ST�
8x8-15 ST�
10x10-13 ST�
�
(�
3x3�
4x4�
6x6�
8x8�
10x10�
�
MAX. IMP�
8.750�
9.750�
12.438�
14.750�
13.250�
�
WEIGHT LBS.�
404�
593�
802�
1170�
1401�
�
A�
17.000�
19.750�
22.750�
27.750�
27.750�
�
B1�
2.750�
2.750�
2.750�
0.000�
0.000�
�
B2�
8.500�
9.875�
11.375�
13.875�
15.500�
�
B3�
17.000�
19.750�
22.750�
27.750�
31.000�
�
D�
1.500�
1.500�
1.500�
1.750�
1.750�
�
F�
17.250�
19.500�
19.500�
24.000�
20.625�
�
F1�
11.500�
12.500�
16.000�
16.250�
28.375�
�
F2�
26.625�
30.438�
31.625�
40.250�
49.000�
�
F4�
7.250�
8.938�
10.625�
16.250�
28.375�
�
H�
7.500�
8.750�
10.125�
13.000�
14.000�
�
H1�
10.000�
9.750�
12.938�
13.500�
15.938�
�
H2�
17.000�
19.500�
22.375�
28.500�
25.000�
�
H4�
5.250�
6.250�
7.500�
9.313�
15.938�
�
H5�
23.625�
27.250�
29.000�
37.875�
41.250�
�
K2�
6.000�
7.500�
9.500�
11.750�
14.250�
�
K3�
7.500�
9.000�
11.000�
13.500�
16.000�
�
L�
4.000�
5.000�
5.000�
6.750�
4.875�
�
M1�
11.188�
11.625�
11.625�
16.000�
12.625�
�
M2�
9.000�
11.000�
11.000�
12.000�
12.000�
�
M3�
11.000�
13.000�
13.000�
15000�
15.000�
�
M4�
0.938�
1.000�
1.000�
1.500�
1.500�
�
N�
15.500�
18.000�
20.750�
25.000�
27.750�
�
N1�
7.750�
9.000�
10.375�
12.500�
12.50�
�
N2�
0.750�
0.875�
1.000�
1.375�
1.375�
�
N3�
0.750�
0.750�
1.000�
1.250�
1.375�
�
S�
0.688�
0.688�
0.688�
0.875�
0.875�
�
S2�
0.750�
0.750�
0.875�
0.875�
1.000�
�
T�
1.6875�
1.688�
1.688�
1.938�
1.938�
�
U�
0.375�
0.375�
0.375�
0.375�
0.375�
�
SOLIDS�
2.50�
3.00�
3.00�
3.00�
3.00�
�
All dimensions are in inches.


Optional suction and discharge spool pieces available.





Bulletin 490ST


Edition 1








Bulletin 490ST


Edition 1








Since 1935, American-Marsh has manufactured high quality and durable self -primer pumps.  These products incorporate features that you have asked for.  Oil lubricated bearings, oil lubricated mechanical seal and a large cover plate for inspection and service of the impeller, mechanical seal, wear plate and suction check valve.  All models feature completely removable rotating assemblies that allow for quick replacement and inspection.











All ST Models feature a completely removable rotating assembly for ease in maintenance.  All rotating assemblies have jackscrews aiding in the removal of the rotating assembly.  This allows for inspection of the impeller, bearings and mechanical seal without the need to adjust the piping or driver.  The rotating assembly has two oil level indicators; one for oil level in the bearing housing and the other for oil level of the mechanical seal.





The impeller features a two vane, solids handling design with back pump out vanes on the reverse.  Back pump out vanes minimize pressure on both the mechanical seals and the bearings.  All models are designed to handle large spherical solids encountered in sewage and pulp & paper applications.





ST Model�
Max. Solids�
Flow (GPM)�
Head (Feet)�
Motor HP�
�
3x3-8�
2.50”�
425�
90�
20�
�
4x4-10�
3.00”�
640�
90�
30�
�
6x6-12�
3.00”�
1250�
70�
40�
�
8x8-15�
3.00”�
1900�
75�
60�
�
10x10-13�
3.00”�
2800�
100�
100�
�






Aggressive applications require top of the line features that ensure pump life.  All ST Models feature Tungsten Carbide stationary and rotary faces.  The self-aligning, oil lubricated, mechanical seal is designed for superior life during aggressive priming and aggressive pumping applications.  Tungsten Carbide faces assure the end user of durability and long life.





The front of all ST models feature an oversized inspection and cleanout cover.  The pump is designed so that the impeller and wear plate can be examined or replaced through the cleanout plate.  The cleanout plate has adjustment screws to dial back factory tolerances and efficiencies.  Integral on all ST Models is a pressure relief valve designed to protect the unit from over pressurizing.











1
1

